## Slide 1: Soil and Plant Relationships 2023
Assoc. Prof. Martin Kulhánek
kulhanek@af.czu.cz
A357

## Slide 2: Preparation for the analysis
Tilt measure
Starling

## Slide 3: Preparation for the analysis
1. 5 g of soil
2. 5 g of soil
3. 5 g of soil
0.2 M KCl
Tilt measure (50 mL)
Stirring
30 min. shaking
5 min. shaking
Exchangeable pH
Active pH
Bioavailable K
Water
M3

## Slide 4
1. pH value
The negative decadic logarithm of the concentration of hydrogen (oxonium) ions in solution.
2. Soil pH
The concentration of H+ and OH- ions in soil has no direct effect on plant growth
Significant direct influence on a wide range of factors directly related to plant growth

## Slide 5
Acidity |  | Alkalinity | 
pH | Concentration of H+ | Concentration of OH- | pOH
0 | 1.0 | 0.00000000000001 | 14
1 | 0.1 | 0.0000000000001 | 13
2 | 0.01 | 0.000000000001 | 12
3 | 0.001 | 0.00000000001 | 11
4 | 0.0001 | 0.0000000001 | 10
5 | 0.00001 | 0.000000001 | 9
6 | 0.000001 | 0.00000001 | 8
7 | 0.0000001 | 0.0000001 | 7
8 | 0.00000001 | 0.000001 | 6
9 | 0.000000001 | 0.00001 | 5
10 | 0.0000000001 | 0.0001 | 4
11 | 0.00000000001 | 0.001 | 3
12 | 0.000000000001 | 0.01 | 2
13 | 0.0000000000001 | 0.1 | 1
14 | 0.00000000000001 | 1.0 | 0
Příklady poměrů pH a pOH v roztoku ke koncentracím kyselých a zásaditých roztoků

## Slide 6
3. Soil pH importance
3.1. Influences - nutrient availability
- solubility of all compounds in the soil
- the proportion of ions bound in the
soil sorption complex
- microbial activity
- soil structure
MANGAN
BÓR
MĚĎ A ZINEK
MOLYBDEN

## Slide 7
4. The methods of pH determination
4.1. Colorimetric measurement
Can be used directly on the field
Quick method
Cheap
Less accuracy
Not often used in labs

## Slide 8
4. The methods of pH determination
4.2. Electrometric measurement
Commonly used in labs
High accuracy
Reliability
Usually more functions
Lab and fields
More expensive
Longer sample preparation

## Slide 9
K+
Ca2+
H+
H+
H+
H+
K+
K
Active acidity
Ca
H
H
H
H
K
Ca
H2O →
Solution
Active acidity pH
  Water extract
    (ratios: 1 part of sample:5 part of water; 1:10; 1:25)
  Used commonly for garden substrates
5. Types of pH analysis

## Slide 10
Ca2+
K+
K
Exchangeable pH
Ca
H
H
H
H
K
Ca
0,2 M KCl →
Solution
K+
K+
K+
K+
+
+
+
+
+
+
+
+
H+
H+
H+
H+
Exchangeable pH
  0,01 mol/l CaCl2 – pHCaCl2 (pH/CaCl2) – CISTA (Czech)
  0,20 mol/l KCl – pHKCl (pH/KCl)
    Comparable (almost identical results of pHCaCl2 and pHKCl)
    Exchangeable pH is usually lower than active
5. Types of pH analysis

## Slide 11
6. Interpretation of measured pH values
Soil texture | culture | 
 | arable soil | permanent grassland
Sandy | 5.5 | 5.0
Loamy-sand | 6.0 | 5.0
Sandy-loam | 6.5 | 5.2
Loamy, clayey | 7.0 | 5.5
Optimal pHKCl values of mineral soils (Vaněk et al., 2012)

## Slide 12
8. Influence of pHKCl on nutrients availability
NITROGEN
PHOSPHORUS
POTASSIUM
SULFUR
CALCIUM
MAGNESIUM
IRON
MANGANESE
BORON
COPPER AND ZINC
MOLYBDENUM
pH
5.5
7.3

## Slide 13: Iron deficiency related to high soil pH
Particularly susceptible garden plants, corn, potatoes, sorghum, beans
Young leaves

## Slide 14
9.1. Climatic conditions
9.2. Soil properties
- Parent rock
- Cation exchange capacity …
9.3. Influence of mineral fertilizers
9.4. Influence of vegetation
9.1. Climatic conditions
9. pH and electric conductivity (EC) – related to salinity
Humid climate
Arid climate
TRANSPIRATION
TRANSPIRATION
base leaching and pH drop
salts accumulation and pH increase
PRECIPITATIONS
PRECIPITATIONS

## Slide 15: Soil pH (salinity) around the world

## Slide 16: Electric conductivity evaluation
Substrate type | w/v 1:5* | w/v 1:10 | w/v 1:25
Propagation, sensitive plants | 0.75 | 0.5 | 0.4
For seeding | 1.0 | 0.65 | 0.5
Growing substrate | 1.8 | 1.2 | 1.0
Upper conductivity values for substrates (mS/cm)
* w = weight of substrate; v = volume of water
Soil EC (mS/cm)
Salinity | w/v 1:10
Low | up to 0.70
Medium | 0.71 – 1.20
High | over 1.21